## Sheet1
Sr.No. | Item Name | Item Code | Item Description | Category | Available Qty | Unit Price |  | Product Group | Base UOM | Purchase UOM | Pricing UOM | Pricing Conversion Factor | Purchase Conversion Factor | Store Type | Location
1 | AUXILIARY CONTACT | 5SL61167RC | AUXILIARY CONTACT | Consumables | 1 | 0 | 0 | SIEMENSE SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A1
2 | SINGLE POLE 16 AMPS MCB | 5SL61167RC | SINGLE POLE 16 AMPS MCB | Consumables | 1 | 0 | 0 | SIEMENSE SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A1
3 | SINGLE POLE 25 AMPS MCB | 5SL61257RC | SINGLE POLE 25 AMPS MCB | Consumables | 1 | 0 | 0 | SIEMENSE SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A1
4 | TWO POLE 6 AMPS MCB | 5SL42067RC | TWO POLE 6 AMPS MCB | Consumables | 18 | 0 | 0 | SIEMENSE SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A1
5 | TWO POLE 10 AMPS MCB | 5SL62107RC | TWO POLE 10 AMPS MCB | Consumables | 15 | 13590 | 203850 | SIEMENSE SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A1
6 | TWO POLE 16 AMPS MCB | 5SL62107RC | TWO POLE 16 AMPS MCB | Consumables | 11 | 13590 | 149490 | SIEMENSE SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A1
7 | TWO POLE 20 AMPS MCB | 5SL62207RC | TWO POLE 20 AMPS MCB | Consumables | 15 | 0 | 0 | SIEMENSE SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A1
8 | TWO POLE 4 AMPS MCB | 5SL62047RC | TWO POLE 4 AMPS MCB | Consumables | 11 | 0 | 0 | SIEMENSE SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A1
9 | TWO POLE 25 AMPS MCB | 5SL62257RC | TWO POLE 25 AMPS MCB | Consumables | 1 | 0 | 0 | SIEMENSE SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A1
10 | TWO POLE 32 AMPS MCB | 5SL62327RC | TWO POLE 32 AMPS MCB | Consumables | 0 | 0 | 0 | SIEMENSE SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A1
11 | THREE POLE 10 AMPS MCB | 5SL63107RC | THREE POLE 10 AMPS MCB | Consumables | 15 | 0 | 0 | SIEMENSE SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A1
12 | THREE POLE 6 AMPS MCB | 5SL63067RC | THREE POLE 6 AMPS MCB | Consumables | 1 | 0 | 0 | SIEMENSE SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A1
13 | THREE POLE 16 AMPS MCB | 5SL43167RC | THREE POLE 16 AMPS MCB | Consumables | 5 | 6277.95 | 31389.75 | SIEMENSE SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A1
14 | THREE POLE 32 AMPS MCB | 5SL63327RC | THREE POLE 32 AMPS MCB | Consumables | 8 | 0 | 0 | SIEMENSE SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A1
15 | CONNECTWELL END CLAMP | CA702 | CONNECTWELL END CLAMP | Consumables | 125 | 0 | 0 | CONNECTORS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
16 | FOUR POLE 6 AMPS MCB | 5sl44067rc | FOUR POLE 6 AMPS MCB | Consumables | 10 | 0 | 0 | SIEMENSE SWITCH GEAR | NOS | NOS | NOS |  |  | Electrical Items Store | ELE-R1-A2
17 | FOUR POLE 10 AMPS MCB | 5SL64107RC | FOUR POLE 10 AMPS MCB | Consumables | 11 | 7169.4 | 78863.4 | SIEMENSE SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A1
18 | FOUR POLE 16 AMPS MCB | 5SL64167RC | FOUR POLE 16 AMPS MCB | Consumables | 3 | 7170.66 | 21511.98 | SIEMENSE SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A1
19 | FOUR POLE 20 AMPS MCB | 5SL64207RC | FOUR POLE 20 AMPS MCB | Consumables | 2 | 2804.75 | 5609.5 | SIEMENSE SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A1
20 | FOUR POLE 40 AMPS MCB | 5SL64407RC | FOUR POLE 40 AMPS MCB | Consumables | 3 | 3356 | 10068 | SIEMENSE SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A1
21 | FOUR POLE 63 AMPS MCB | 5SL64637RC | FOUR POLE 63 AMPS MCB | Consumables | 2 | 4290 | 8580 | SIEMENSE SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A1
22 | FOUR POLE 40 AMPS 30MA RCCB | 5SV4344-0RC | FOUR POLE 40 AMPS 30MA RCCB | Consumables | 1 | 3416 | 3416 | SIEMENSE SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A1
23 | FOUR POLE 63 AMPS 30MA RCCB | 5SV4346-0RC | FOUR POLE 63 AMPS 30MA RCCB | Consumables | 1 | 0 | 0 | SIEMENSE SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A1
24 | TWO POLE 25 AMPS 30MA RCCB | 5SV4312-0RC | TWO POLE 25 AMPS 30MA RCCB | Consumables | 1 | 0 | 0 | SIEMENSE SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A1
25 | SINGLE POLE 16 AMPS MCB | A9N1P16GN | SINGLE POLE 16 AMPS MCB | Consumables | 13 | 0 | 0 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
26 | AUXILIARY CONTACT | A9N26904 | AUXILIARY CONTACT | Consumables | 13 | 0 | 0 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
27 | TWO POLE 6 AMPS MCB | A9N26904 | TWO POLE 6 AMPS MCB | Consumables | 18 | 0 | 0 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
28 | TWO POLE 10 AMPS MCB | A9N2P10CGN | TWO POLE 10 AMPS MCB | Consumables | 10 | 0 | 0 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
29 | TWO POLE 16 AMPS MCB | A9N2P16CGN | TWO POLE 16 AMPS MCB | Consumables | 4 | 0 | 0 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
30 | TWO POLE 20 AMPS MCB | A9N2P20C | TWO POLE 20 AMPS MCB | Consumables | 4 | 0 | 0 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
31 | THREE POLE 06 AMPS MCB | A9N3P06CGN | THREE POLE 06 AMPS MCB | Consumables | 6 | 0 | 0 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
32 | THREE POLE 10 AMPS MCB | A9N26904 | THREE POLE 10 AMPS MCB | Consumables | 5 | 0 | 0 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
33 | THREE POLE 16 AMPS MCB | A9N26904 | THREE POLE 16 AMPS MCB | Consumables | 7 | 0 | 0 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2 |  | amount | per | 100
34 | FOUR POLE 10 AMPS MCB | A9N4P10C | FOUR POLE 10 AMPS MCB | Consumables | 3 | 0 | 0 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2 |  | 4080 | 57
35 | FOUR POLE 20 AMPS MCB | A9N4P20CGN | FOUR POLE 20 AMPS MCB | Consumables | 3 | 0 | 0 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
36 | FOUR POLE 32 AMPS MCB | A9N4P32CGN | FOUR POLE 32 AMPS MCB | Consumables | 3 | 0 | 0 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2 |  |  |  |  | total
37 | FOUR POLE 40AMPS 100MA RCCB | A9N4P32CGN | FOUR POLE 40AMPS 100MA RCCB | Consumables | 2 | 0 | 0 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2 |  |  |  |  | 2325.6
38 | OVERLOAD RELAY 0.63 TO 1 AMPS | LRD 05 | OVERLOAD RELAY 0.63 TO 1 AMPS | Consumables | 4 | 0 | 0 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
39 | OVERLOAD RELAY 1 TO 1.6 AMPS | LRD 06 | OVERLOAD RELAY 1 TO 1.6 AMPS | Consumables | 2 | 0 | 0 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
40 | OVERLOAD RELAY 1.6 TO 2.5 AMPS | LRD07 | OVERLOAD RELAY 1.6 TO 2.5 AMPS | Consumables | 3 | 1202 | 3606 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2 | [13 empty] | amount | per
41 | OVERLOAD RELAY 12 TO 18 AMPS | LRD21 | OVERLOAD RELAY 12 TO 18 AMPS | Consumables | 2 | 0 | 0 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2 | [13 empty] | 100 | 50 | 100
42 | MPCB 1.6 TO 2.5 AMPS | GV2ME07 | MPCB 1.6 TO 2.5 AMPS | Consumables | 3 | 5080 | 15240 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
43 | MPCB 2.5 TO 4 AMPS | GV2ME08 | MPCB 2.5 TO 4 AMPS | Consumables | 2 | 5255 | 10510 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2 | [14 empty] | 50
44 | CONTACTOR 3 POLE 40 AMPS | LDLC1D40AN7 | CONTACTOR 3 POLE 40 AMPS | Consumables | 1 | 0 | 0 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
45 | AUXILIARY CONTACT LOTO SWITCH | VZ7 | AUXILIARY CONTACT LOTO SWITCH | Consumables | 17 | 739 | 12563 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
46 | AUXILIARY CONTACT CONTACTOR | LADN22 | AUXILIARY CONTACT CONTACTOR | Consumables | 2 | 0 | 0 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
47 | AUXILIARY CONTACT CONTACTOR | LADN11 | AUXILIARY CONTACT CONTACTOR | Consumables | 2 | 339 | 678 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
48 | LOTO SWITCH 20 AMPS | VCF 01 | LOTO SWITCH 20 AMPS | Consumables | 4 | 819 | 3276 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
49 | LOTO SWITCH 12 AMPS | VCF02 | LOTO SWITCH 12 AMPS | Consumables | 5 | 756 | 3780 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
50 | LOTO SWITCH 32 AMPS | VCF1 | LOTO SWITCH 32 AMPS | Consumables | 2 | 1050 | 2100 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
51 | SINGLE HOLE PUSH BUTTON BOX | XALD01 | SINGLE HOLE PUSH BUTTON BOX | Consumables | 7 | 254 | 1778 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
52 | TWO HOLE PUSH BUTTON BOX | XALD02 | TWO HOLE PUSH BUTTON BOX | Consumables | 4 | 315 | 1260 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
53 | THREE HOLE PUSH BUTTON BOX | XALD03 | THREE HOLE PUSH BUTTON BOX | Consumables | 20 | 391 | 7820 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
54 | FPUR HOLE PUSH BUTTON BOX | XALD04 | FPUR HOLE PUSH BUTTON BOX | Consumables | 11 | 535 | 5885 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
55 | BLUE INDICATOR 230 VOLTS AC | XB7EV06MPN | BLUE INDICATOR 230 VOLTS AC | Consumables | 56 | 272 | 15232 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
56 | BLUE PUSH BUTTON WITH INDICATOR | XB5AW36B1N | BLUE PUSH BUTTON WITH INDICATOR | Consumables | 31 | 499 | 15469 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
57 | 2 STEP SELECTOR SWITCH | XB5AD21N | 2 STEP SELECTOR SWITCH | Consumables | 40 | 217 | 8680 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
58 | SPRING RETURN SELECTOR SWITCH | XB5AD53N | SPRING RETURN SELECTOR SWITCH | Consumables | 29 | 252 | 7308 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
59 | 3 STEP SELECTOR SWITCH | XB5AD33N | 3 STEP SELECTOR SWITCH | Consumables | 25 | 237 | 5925 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
60 | YELLOW INDICATOR 230 VOLTS AC | XB7EV05MPN | YELLOW INDICATOR 230 VOLTS AC | Consumables | 49 | 133 | 6517 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
61 | GREEN PUSH BUTTON WITH INDICATOR | XB5AW33B1N | GREEN PUSH BUTTON WITH INDICATOR | Consumables | 24 | 271 | 6504 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
62 | YELLOW PUSH BUTTON WITHOUT INDICATOR | XB5AA51N | YELLOW PUSH BUTTON WITHOUT INDICATOR | Consumables | 50 | 75 | 3750 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
63 | RED INDICATOR 230 VOLTS AC | XB7EV04MPN | RED INDICATOR 230 VOLTS AC | Consumables | 45 | 133 | 5985 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
64 | RED PUSH BUTTON WITH INDICATOR | XB5AW34B2N | RED PUSH BUTTON WITH INDICATOR | Consumables | 26 | 264 | 6864 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
65 | EMERGENCY STOP WITH INDICATOR | XB5AW74M2N | EMERGENCY STOP WITH INDICATOR | Consumables | 13 | 60.5 | 786.5 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
66 | EMERGENCY STOP | XB5AS542N | EMERGENCY STOP | Consumables | 25 | 143 | 3575 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
67 | WHITE INDICATOR | XB7EV01BPN | WHITE INDICATOR | Consumables | 7 | 0 | 0 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
68 | YELLOW PUSH BUTTON WITH INDICATOR | XB5AW3581N | YELLOW PUSH BUTTON WITH INDICATOR | Consumables | 1 | 0 | 0 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
69 | MPCB AUXILIARY CONTACT | GVAE11 | MPCB AUXILIARY CONTACT | Consumables | 20 | 553 | 11060 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store
70 | LOTO DISCONNECTOR MAIN SWITCH INCLOSURE BOX | VCF02GE | LOTO DISCONNECTOR MAIN SWITCH INCLOSURE BOX | Consumables | 13 | 2013 | 26169 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store
71 | CONTACTOR 3 POLE 9 AMPS COIL 230VOLTS AC | LCD09N7 | CONTACTOR 3 POLE 9 AMPS COIL 230VOLTS AC | Consumables | 1 | 0 | 0 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store |  | MPCB 0.63 TO 1 AMPS | GV2ME05 | MPCB 0.63 TO 1 AMPS | Consumables | 2
72 | POLYCAB RED WIRE 6 SQMM | CAB2300-001 | POLYCAB RED WIRE 6 SQMM | Consumables | 70 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
73 | POLYCAB RED WIRE 2.5 SQMM | CAB2300-003 | POLYCAB RED WIRE 2.5 SQMM | Consumables | 0 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
74 | POLYCAB RED WIRE 1 SQMM | CAB2300-004 | POLYCAB RED WIRE 1 SQMM | Consumables | 100 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
75 | POLYCAB YELLOW WIRE 6 SQMM | CAB2300-005 | POLYCAB YELLOW WIRE 6 SQMM | Consumables | 80 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
76 | POLYCAB YELLOW WIRE 4 SQMM | CAB2300-006 | POLYCAB YELLOW WIRE 4 SQMM | Consumables | 60 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
77 | POLYCAB BLUE WIRE 6 SQMM | CAB2300-009 | POLYCAB BLUE WIRE 6 SQMM | Consumables | 80 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
78 | POLYCAB BLUE WIRE 1.5 SQMM | CAB2300-012 | POLYCAB BLUE WIRE 1.5 SQMM | Consumables | 0 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
79 | POLYCAB BLUE WIRE 1 SQMM | CAB2300-013 | POLYCAB BLUE WIRE 1 SQMM | Consumables | 300 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
80 | POLYCAB BLACK WIRE 2.5 SQMM | CAB2300-014 | POLYCAB BLACK WIRE 2.5 SQMM | Consumables | 500 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
81 | POLYCAB BLACK WIRE 1 SQMM | CAB2300-016 | POLYCAB BLACK WIRE 1 SQMM | Consumables | 100 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
82 | POLYCAB ORANGE WIRE 1 SQMM | CAB2300-019 | POLYCAB ORANGE WIRE 1 SQMM | Consumables | 0 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
83 | POLYCAB 3 CORE 4 SQMM CABLE | CAB2300-026 | POLYCAB 3 CORE 4 SQMM CABLE | Consumables | 0 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
84 | POLYCAB 4 CORE 1.5 SQMM CABLE | CAB2300-029 | POLYCAB 4 CORE 1.5 SQMM CABLE | Consumables | 200 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
85 | POLYCAB 4 CORE 2.5 SQMM CABLE | CAB2300-030 | POLYCAB 4 CORE 2.5 SQMM CABLE | Consumables | 500 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
86 | POLYCAB RED WIRE 4 SQMM | CAB2300-002 | POLYCAB RED WIRE 4 SQMM | Consumables | 70 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
87 | POLYCAB BLUE WIRE 4 SQMM | CAB2300-010 | POLYCAB BLUE WIRE 4 SQMM | Consumables | 50 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
88 | POLYCAB GRAY WIRE 1 SQMM | CAB2300-022 | POLYCAB GRAY WIRE 1 SQMM | Consumables | 100 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
89 | POLYCAB YELLOW WIRE 2.5 SQMM | CAB2300-007 | POLYCAB YELLOW WIRE 2.5 SQMM | Consumables | 50 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
90 | POLYCAB YELLOW WIRE 1 SQMM | CAB2300-008 | POLYCAB YELLOW WIRE 1 SQMM | Consumables | 200 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
91 | POLYCAB BLUE WIRE 2.5 SQMM | CAB2300-011 | POLYCAB BLUE WIRE 2.5 SQMM | Consumables | 50 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
92 | POLYCAB GREEN WIRE 1.5 SQMM | CAB2300-017 | POLYCAB GREEN WIRE 1.5 SQMM | Consumables | 0 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
93 | POLYCAB BROWN WIRE 1 SQMM | CAB2300-018 | POLYCAB BROWN WIRE 1 SQMM | Consumables | 300 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
94 | POLYCAB WHITE WIRE 1 SQMM | CAB2300-020 | POLYCAB WHITE WIRE 1 SQMM | Consumables | 100 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
95 | POLYCAB BLACK WIRE 1.5 SQMM | CAB2300-015 | POLYCAB BLACK WIRE 1.5 SQMM | Consumables | 40 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
96 | POLYCAB GRAY WIRE 2.5 SQMM | CAB2300-021 | POLYCAB GRAY WIRE 2.5 SQMM | Consumables | 100 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
97 | POLYCAB GRAY WIRE 0.5 SQMM | CAB2300-023 | POLYCAB GRAY WIRE 0.5 SQMM | Consumables | 0 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
98 | POLYCAB 2 CORE 1 SQMM CABLE | CAB2300-024 | POLYCAB 2 CORE 1 SQMM CABLE | Consumables | 200 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
99 | POLYCAB 3 CORE 1.5 SQMM CABLE | CAB2300-025 | POLYCAB 3 CORE 1.5 SQMM CABLE | Consumables | 300 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
100 | POLYCAB 4 CORE 0.5 SQMM CABLE | CAB2300-027 | POLYCAB 4 CORE 0.5 SQMM CABLE | Consumables | 300 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
101 | POLYCAB 4 CORE 6 SQMM CABLE | CAB2300-031 | POLYCAB 4 CORE 6 SQMM CABLE | Consumables | 0 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
102 | POLYCAB 12 CORE 1 SQMM CABLE | CAB2300-032 | POLYCAB 12 CORE 1 SQMM CABLE | Consumables | 0 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
103 | POLYCAB 16 CORE 1 SQMM CABLE | CAB2300-033 | POLYCAB 16 CORE 1 SQMM CABLE | Consumables | 0 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
104 | FINOLEX SINGLE CORE 10 SQMM CABLE | CAB2300-035 | FINOLEX SINGLE CORE 10 SQMM CABLE | Consumables | 0 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
105 | LAP KABAL UNIPLUS GREEN/YELLOW 10 SQSMM WIRE | CAB2300-036 | LAP KABAL UNIPLUS GREEN/YELLOW 10 SQSMM WIRE | Consumables | 0 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
106 | FINOLEX 4 COREV1.5 SQMM CABLE | CAB2300-034 | FINOLEX 4 COREV1.5 SQMM CABLE | Consumables | 0 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
107 | LAP KABAL UNIPLUS SKY BLUE/WHITE 1.5 SQMM WIRE | CAB2300-039 | LAP KABAL UNIPLUS SKY BLUE/WHITE 1.5 SQMM WIRE | Consumables | 0 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
108 | LAP KABAL UNIPLUS GRAY 4 CORE 2.5 SQMM CABLE | CAB2300-041 | LAP KABAL UNIPLUS GRAY 4 CORE 2.5 SQMM CABLE | Consumables | 0 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
109 | LAP KABAL UNIPLUS GREEN/YELLOW 2.5 SQMM WIRE | CAB2300-040 | LAP KABAL UNIPLUS GREEN/YELLOW 2.5 SQMM WIRE | Consumables | 0 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
110 | LAP KABAL UNIPLUS GREEN/YELLOW 4 SQMM WIRE | CAB2300-037 | LAP KABAL UNIPLUS GREEN/YELLOW 4 SQMM WIRE | Consumables | 0 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
111 | LAP KABAL UNIPLUS BLUE/WHITE 1 SQMM WIRE | CAB2300-038 | LAP KABAL UNIPLUS BLUE/WHITE 1 SQMM WIRE | Consumables | 0 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
112 | TEKNIC YELLOW INDICATOR 240V DC | 3EPLBR8L-240V | TEKNIC YELLOW INDICATOR 240V DC | Consumables | 119 | 0 | 0 | TEKNIC CONTROL | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R2-A2,3
113 | TEKNIC GREEN INDICATOR 24V DC | 3EPLBR3L-24VDC | TEKNIC GREEN INDICATOR 24V DC | Consumables | 27 | 0 | 0 | TEKNIC CONTROL | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R2-A2,3
114 | TEKNIC BLUE INDICATOR 230V AC | 3EPLBR6L-240V | TEKNIC BLUE INDICATOR 230V AC | Consumables | 120 | 0 | 0 | TEKNIC CONTROL | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R2-A2,3
115 | TEKNIC RED INDICATOR 24V DC | 3EPLBR4L-24VDC | TEKNIC RED INDICATOR 24V DC | Consumables | 45 | 0 | 0 | TEKNIC CONTROL | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R2-A2,3
116 | TEKNIC YELLOW INDICATOR 24V DC | 3EPLBR8L-24V | TEKNIC YELLOW INDICATOR 24V DC | Consumables | 18 | 0 | 0 | TEKNIC CONTROL | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R2-A2,3
117 | TEKNIC RED INDICATOR 230V AC | 3EPLBR4L | TEKNIC RED INDICATOR 230V AC | Consumables | 109 | 0 | 0 | TEKNIC CONTROL | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R2-A2,3
118 | TEKNIC GREEN INDICATOR 230V AC | 3EPLBR3L-240V | TEKNIC GREEN INDICATOR 230V AC | Consumables | 16 | 0 | 0 | TEKNIC CONTROL | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R2-A2,3
119 | TEKNIC GREEN PB | 2AF3 | TEKNIC GREEN PB | Consumables | 95 | 0 | 0 | TEKNIC CONTROL | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R2-A2,3
120 | TEKNIC BLACK PB | 2AF2 | TEKNIC BLACK PB | Consumables | 49 | 0 | 0 | TEKNIC CONTROL | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R2-A2,3
121 | TEKNIC E-STOP | 2AML4 | TEKNIC E-STOP | Consumables | 94 | 41.625 | 3912.75 | TEKNIC CONTROL | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R2-A2,3
122 | TEKNIC NO ELEMENTS | S1 | TEKNIC NO ELEMENTS | Consumables | 268 | 0 | 0 | TEKNIC CONTROL | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R2-A2,3
123 | TEKNIC RED PB | 2AF4 | TEKNIC RED PB | Consumables | 60 | 18 | 1080 | TEKNIC CONTROL | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R2-A2,3
124 | TEKNIC BLUE PB | 2AF6 | TEKNIC BLUE PB | Consumables | 36 | 0 | 0 | TEKNIC CONTROL | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R2-A2,3
125 | TEKNIC NC ELEMENTS | S2 | TEKNIC NC ELEMENTS | Consumables | 286 | 0 | 0 | TEKNIC CONTROL | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R2-A2,3
126 | 1 HOLE PUSH BUTTON BOX TEKNIC | 4006A10 | TEKNIC NC ELEMENTS | Consumables | 9 | 0 | 0 | TEKNIC CONTROL | [6 empty] | ELE-R2-A2,3
127 | 3 HOLE PUSH BUTTON BOX TEKNIC | 4006E10 | 3 HOLE PUSH BUTTON BOX TEKNIC | Consumables | 5 | 0 | 0 | TEKNIC CONTROL | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R2-A2,3
128 | 4 HOLE PUSH BUTTON BOX TEKNIC | 4006G10 | 4 HOLE PUSH BUTTON BOX TEKNIC | Consumables | 2 | 0 | 0 | TEKNIC CONTROL | [6 empty] | ELE-R2-A2,3
129 | TEKNIC BUILT IN SHOCKET 32 AMPS | IEG 3253 | TEKNC BUILT IN 32 AMPS | Consumables | 0 | 0 | 0 | TEKNIC CONTROL | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R2-A2,3
130 | TEKNIC PLUG 32 AMPS | IVG 3253 | TEKNIC PLUG 32 AMPS | Consumables | 0 | 0 | 0 | TEKNIC CONTROL | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R2-A2,3
131 | TEKNIIC NUZZER PILOT WITH INDICATOR | 3PLBR4LBZ(SH) | TEKNIIC NUZZER PILOT WITH INDICATOR | Consumables | 139 | 0 | 0 | TEKNIC CONTROL | [5 empty] | Electrical Items Store | ELE-R2-A2,3
132 | CABLE TIES 100*2.5 BLACK | 0 | CABLE TIES 100*2.5 BLACK | Consumables | 17 | 0 | 0 | CABLE TIES | PACKET | PACKET | PACKET |  |  | Electrical Items Store | ELE-R2-A4
133 | CABLE TIES 150*2.5 BLACK | CABTIES150 | CABLE TIES 150*2.5 BLACK | Consumables | 28 | 0 | 0 | CABLE TIES | PACKET | PACKET | PACKET |  |  | Electrical Items Store | ELE-R2-A5
134 | CABLE TIES 200*2.5 BLACK | CABTIES200 | CABLE TIES 200*2.5 BLACK | Consumables | 1 | 0 | 0 | CABLE TIES | PACKET | PACKET | PACKET |  |  | Electrical Items Store | ELE-R2-A6
135 | CABLE TIES 250*3.6 BLACK | CABTIES250 | CABLE TIES 250*3.6 BLACK | Consumables | 16 | 0 | 0 | CABLE TIES | PACKET | PACKET | PACKET |  |  | Electrical Items Store | ELE-R2-A7
136 | CABLE TIES 300*4.8 BLACK | CABTIES300 | CABLE TIES 300*4.8 BLACK | Consumables | 9 | 0 | 0 | CABLE TIES | PACKET | PACKET | PACKET |  |  | Electrical Items Store | ELE-R2-A8
137 | CABLE TIES 400*4.5 BLACK | CABTIES400 | CABLE TIES 400*4.5 BLACK | Consumables | 20 | 0 | 0 | CABLE TIES | PACKET | PACKET | PACKET |  |  | Electrical Items Store | ELE-R2-A9
138 | CONNECTWELL RED TB 6MM | CTS6UR | CONNECTWELL RED TB 6MM | Consumables | 137 | 0 | 0
139 | CONNECTWELL YELLOW TB 6MM | CTS6UY | CONNECTWELL YELLOW TB 6MM | Consumables | 0 | 0 | 0 | CONNECTORS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
140 | CONNECTWELL BLUE TB 6MM | CTS6UBL | CONNECTWELL BLUE TB 6MM | Consumables | 119 | 0 | 0 | CONNECTORS
141 | CONNECTWELL BLACK TB 6MM | CTS6UBK | CONNECTWELL BLACK TB 6MM | Consumables | 123 | 0 | 0 | CONNECTORS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
142 | CONNECTWELL EARTH TB 4MM | CGT4U | CONNECTWELL EARTH TB 4MM | Consumables | 106 | 32.5 | 3445 | CONNECTORS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
143 | CONNECTWELL RED TB 25MM | CTS25UN | CONNECTWELL RED TB 25MM | Consumables | 125 | 0 | 0 | CONNECTORS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
144 | CONNECTWELL GRAY TB 6MM | CTS6U | CONNECTWELL GRAY TB 6MM | Consumables | 186 | 1350 | 251100 | CONNECTORS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
145 | CONNECTWELL GRAY TB | CTS10U | CONNECTWELL GRAY TB | Consumables | 0 | 0 | 0 | CONNECTORS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
146 | CONNECTWELL GRAY TB | CTS2.5UN | CONNECTWELL GRAY TB | Consumables | 0 | 661 | 0 | CONNECTORS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
147 | CONNECTWELL GRAY TB | FTS-35P | CONNECTWELL GRAY TB | Consumables | 21 | 0 | 0 | CONNECTORS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
148 | CONNECTWELL GRAY TB 4MM | CTS4UN | CONNECTWELL GRAY TB 4MM | Consumables | 0 | 0 | 0 | CONNECTORS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
149 | CONNECTWELL THREE LEVEL FEED THROUGH TERMINAL 2.5MM | CTL2.5U | CONNECTWELL THREE LEVEL FEED THROUGH TERMINAL 2.5MM | Consumables | 3 |  | 0 | CONNECTORS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
150 | CONNECTWELL GRAY TB 16MM | CTS16U | CONNECTWELL GRAY TB 16MM | Consumables | 26 | 0 |  | CONNECTORS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
151 | CONNECTWELL DOUBLE LEVEL TERMINAL BLOCK 4MM | CDL4UN | CONNECTWELL DOUBLE LEVEL TERMINAL BLOCK 4MM | Consumables | 336 | 1350 | 453600 | CONNECTORS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
152 | CONNECTWELL END PLAT FOR CTS2.5UN | EP2.5/4UN | CONNECTWELL END PLAT FOR CTS2.5UN | Consumables | 140 | 19.2 | 2688 | CONNECTORS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
153 | CONNECTWELL END PLATE FOR THREE LEVEL | EPCTL2.5U | CONNECTWELL END PLATE FOR THREE LEVEL | Consumables | 113 | 1350 | 152550 | CONNECTORS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
154 | CONNECTWELL END PLAT FOR CTS6U/10U | EP6/10U | CONNECTWELL END PLAT FOR CTS6U/10U | Consumables | 113 | 430 | 48590 | CONNECTORS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
155 | CONNECTWELL END PLAT FOR TWO LEVEL | EPCDL4UN | CONNECTWELL END PLAT FOR TWO LEVEL | Consumables | 75 | 1350 | 101250 | CONNECTORS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
156 | CONNECTWELL GROUP MARKER HOLDER | TB6EI | CONNECTWELL GROUP MARKER HOLDER | Consumables | 164 | 0 | 0 | CONNECTORS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
157 | PHONIX BLACK TB | TB6EI | PHONIX BLACK TB | Consumables | 0 | 0 | 0 | CONNECTORS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
158 | CONNECTWELL SPRING CLAMP | CX4 | CONNECTWELL SPRING CLAMP | Consumables | 26 | 50 | 1300 | CONNECTORS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
159 | OMRON RELAY BASE 14 PINS | PYF14A-N | OMRON RELAY BASE 14 PINS | Consumables | 27 | 0 | 0 | OMRON RELAYS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
160 | OMRON RELAY BASE 8 PINS | PYF08A-N | OMRON RELAY BASE 8 PINS | Consumables | 54 | 2720 | 146880 | OMRON RELAYS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
161 | OMRON RELAY COIL 8 PINS 24V DC | MY2N-GS | OMRON RELAY COIL 8 PINS 24V DC | Consumables | 50 | 0 | 0 | OMRON RELAYS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
162 | OMRON RELAY COIL 8 PINS 240V AC | MY2N-GS-R | OMRON RELAY COIL 8 PINS 240V AC | Consumables | 68 | 0 | 0 | OMRON RELAYS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
163 | OMRON RELAY COIL 14 PINS 24VDC | MY4N-GS | OMRON RELAY COIL 14 PINS 24VDC | Consumables | 12 | 0 | 0 | OMRON RELAYS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
164 | OMRON RELAY COIL 14 PINS 240AC | MY4N-GS-R | OMRON RELAY COIL 14 PINS 240AC | Consumables | 27 | 0 | 0 | OMRON RELAYS | NOS | NOS | NOS
165 | OMRON 8 CHANEL RELAY CARD 1 NO & NC 24VDC | UL24DOB-COB-V1 | OMRON 8 CHANEL RELAY CARD 1 NO & NC 24VDC | Consumables | 5 | 0 | 0 | OMRON RELAYS
166 | OMRON SMPS 24 VOLTS DC 10AMPS S8VK2002E | S8VK-C24024 | OMRON SMPS 24 VOLTS DC 10AMPS S8VK2002E | Consumables | 3 | 0 | 0 | OMRON RELAYS
167 | INSULATION TAPE ELECTRIC BLACK | INSULATION6BLK | INSULATION TAPE ELECTRIC BLACK | Raw Material | 34 | 0 | 0 | INSULATION TAPE
168 | INSULATION TAPE ELECTRIC RED | INSULATION6RED | INSULATION TAPE ELECTRIC RED | Raw Material | 5 | 0 | 0 | INSULATION TAPE
169 | INSULATION TAPE ELECTRIC YELLOW | INSULATION6YELW | INSULATION TAPE ELECTRIC YELLOW | Raw Material | 6 | 0 | 0 | INSULATION TAPE
170 | INSULATION TAPE ELECTRIC BLUE | INSULATION6GREEN | INSULATION TAPE ELECTRIC BLUE | Raw Material | 5 | 0 | 0 | INSULATION TAPE
171 | INSULATION TAPE ELECTRIC GREEN | INSULATION6GREEN | INSULATION TAPE ELECTRIC GREEN | Raw Material | 6 | 0 | 0 | INSULATION TAPE
172 | GENERAC POTENTIO METER | LA42DWQ-22-10K | GENERAC POTENTIO METER 10K OHMS | Raw Material | 15 | 4200 | 63000 | INSULATION TAPE | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
173 | SALZER LOTO 32 AMPS | LB23232309B33RDYR | SALZER LOTO 32 AMPS | Consumables | 5 | 0 | 0 | SALZER LOTO | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
174 | SALZER LOTO 16 AMPS | LB21632309B33RDYR | SALZER LOTO 16 AMPS | Consumables | 7 | 0 | 0 | SALZER LOTO | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
175 | SALZER LOTO 63 AMPS | LB26332309D33RDYR | SALZER LOTO 63 AMPS | Consumables | 0 | 0 | 0 | SALZER LOTO | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
176 | IDEAL LIMIT SWITCH 15AMPS 230V AC | ID15GW22-B | IDEAL LIMIT SWITCH 15AMPS 230V AC | Consumables | 6 | 3400 | 20400 | LIMIT SWITCHES | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
177 | IDEAL LIMIT SWITCH 3 AMPS 230V AC | REX-22038 A2 T | IDEAL LIMIT SWITCH 3 AMPS 230V AC | Consumables | 16 | 0 | 0 | LIMIT SWITCHES | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
178 | FILTER 4 INCH | FILTER 2326 | FILTER 4 INCH | Raw Material | 11 | 0 | 0 |  | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
179 | FAN GUARD | MI2200-009 | FAN GUARD | Consumables | 21 | 0 | 0 | FILTER | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
180 | REXNORD FAN 4 INCH | REX-22038 A2 T | REXNORD FAN 4 INCH | Raw Material | 24 | 0 | 0 |  | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
181 | WAGO 5 PORT ETHERNET SWITCH | 852-111 | WAGO 5 PORT ETHERNET SWITCH 24VDC | Raw Material | 6 | 5098 | 30588 |  | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
182 | WAGO SMPS 24 VOLTS OUTPUT | 2587-2144 | WAGO SMPS 24 VOLTS OUTPUT | Consumables | 3 | 0 | 0
183 | KUBLER ENCODER 24V DC | 8.KIS50.835A.5000.0050 | KUBLER ENCODER 24V DC | Consumables | 4 | 0 | 0 | ENCODER | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
184 | BRASS M20*1.5 GLANDS | BPGM20 | BRASS M20*1.5 GLANDS | Consumables | 60 | 0 | 0
185 | BRASS M 25 X 1.5 GLANDS | BPGM25 | BRASS M 25 X 1.5 GLANDS | Consumables | 30 | 0 | 0
186 | NEUBOX JUNCTION BOX 5X5X8 | K 9100 Z | NEUBOX JUNCTION BOX 5X5X8 | Raw Material | 6 | 0 | 0 |  | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
187 | ELECTRONIC SWITCH CONTROL UNIT 230V AC | PPD T1+T2 | ELECTRONIC SWITCH CONTROL UNIT 230V AC | Consumables | 4 | 2273.6 | 9094.4 | CONTROL UNIT | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE | [5 empty] | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
188 | KEYENCE SQUARE RETRO-REFLECTIVE SENSOR 24V DC | PZ-G61CP | KEYENCE SQUARE RETRO-REFLECTIVE SENSOR 24V DC | Consumables | 3 | 2200 | 6600 | SENSOR/CABLES/REFLECTOR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
189 | KEYENCE RETRO REFLECTIVE CALBE TYPE SENSOR 24V DC | PZ-M61P | KEYENCE RETRO REFLECTIVE CALBE TYPE SENSOR 24V DC | Consumables | 3 | 3750 | 11250 | SENSOR/CABLES/REFLECTOR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
190 | KEYENCE OPTICAL MEASURING INSTRUMENT (LASER SENSOR) 24V DC | LR-X50 | KEYENCE OPTICAL MEASURING INSTRUMENT (LASER SENSOR) 24V DC | Consumables | 0 | 0 | 0 | SENSOR/CABLES/REFLECTOR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
191 | KEYENCE SENSOR CABLE | OP-73864 | KEYENCE SENSOR CABLE | Consumables | 4 | 600 | 2400 | SENSOR/CABLES/REFLECTOR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
192 | KEYENCE M8 CONNECTOR CABLE TYPE SENSOR 24V DC | PZ-V32P | KEYENCE M8 CONNECTOR CABLE TYPE SENSOR 24V DC | Consumables | 5 | 4000 | 20000 | SENSOR/CABLES/REFLECTOR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
193 | KEYENCE SAFETY INTERLOCK ACTUATOR SENSOR 24V DC | GS-MA5A | KEYENCE SAFETY INTERLOCK ACTUATOR SENSOR 24V DC | Consumables | 1 | 0 | 0 | SENSOR/CABLES/REFLECTOR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
194 | SICK SENSOR 24V DC | WL1-2P4429 | SICK SENSOR 24V DC | Consumables | 16 | 0 | 0 | SENSOR/CABLES/REFLECTOR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
195 | KEYENCE SAFETY INTERLOCK SENSOR 24V DC | GS-M50P | KEYENCE SAFETY INTERLOCK SENSOR 24V DC | Consumables | 2 |  | 0 | SENSOR/CABLES/REFLECTOR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
196 | KEYENCE DIGITAL FABRIC OPTIC SENSOR 24V DC | FS-NHP | KEYENCE DIGITAL FABRIC OPTIC SENSOR 24V DC | Consumables | 2 | 0 | 0 | SENSOR/CABLES/REFLECTOR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
197 | SICK SENSOR 24V DC | IQ80-60NPP-KK0 | SICK SENSOR 24V DC | Consumables | 3 |  | 0 | SENSOR/CABLES/REFLECTOR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
198 | SICK SENSOR 24V DC | GL6G-N4211 | SICK SENSOR 24V DC | Consumables | 1 | 0 | 0 | SENSOR/CABLES/REFLECTOR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
199 | SICK METAL DETECTOR SENSOR 24V DC | IME12-04BPSZCOS | SICK METAL DETECTOR SENSOR 24V DC | Consumables | 9 | 1099 | 9891 | SENSOR/CABLES/REFLECTOR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
200 | SICK PHOTO ELECTRIC SWITCH SENSOR 24V DC | GS6-D1311 | SICK PHOTO ELECTRIC SWITCH SENSOR 24V DC | Consumables | 2 | 0 | 0 | SENSOR/CABLES/REFLECTOR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
201 | SICK PHOTO ELECTRIC SWITCH SENSOR 24V DC | GE6-N1211 | 2.2222e+129 | Consumables | 2 | 0 | 0 | SENSOR/CABLES/REFLECTOR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
202 | SICK PHOTO ELECTRIC RETRO REFLECTIVE SENSOR 24V DC | WL12-3P2431 | SICK PHOTO ELECTRIC RETRO REFLECTIVE SENSOR 24V DC | Consumables | 2 | 0 | 0 | SENSOR/CABLES/REFLECTOR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
203 | SICK RETRO REFLECTIVE SENSOR | WL100-2P4429 | SICK RETRO REFLECTIVE SENSOR | Raw Material | 0 | 0 | 0 |  | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
204 | SICK PHOTO ELECTRIC SENSOR CABLE | YF8U14-050VA3XLEAX | SICK PHOTO ELECTRIC SENSOR CABLE | Raw Material | 34 | 8100 | 275400 |  | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
205 | METEL DETECTOR SENSOR CABLE | YF2A14-050VB3XLEAX | METEL DETECTOR SENSOR CABLE | Raw Material | 9 | 827 | 7443 |  | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
206 | INDUCTIVE PROXIMITY SENSOR | IME18-08BPSZC0S | INDUCTIVE PROXIMITY SENSOR | Raw Material | 0 | 1100 | 0 |  | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
207 | RETRO-REFLECTORE SENSOR | WL100-2P3439 (6052361) | RETRO-REFLECTORE SENSOR | Raw Material | 0 | 5699 | 0 |  | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
208 | KEYENCE SENSOR CABLE | E173648 | KEYENCE SENSOR CABLE | Raw Material | 0 | 0 | 0 |  | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
209 | INDUCTIVE PROXIMITY SENSOR | IME12-04BPSZC0S | INDUCTIVE PROXIMITY SENSOR | Raw Material | 0 | 5105 | 0 |  | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
210 | SICK PHOTO ELECTRIC SENSOR WITH REFLECTOR 24V DC | GL6G-P4212 (PART NO. 1060810) | SICK PHOTO ELECTRIC SENSOR WITH REFLECTOR 24V DC | Raw Material | 27 | 2100 | 56700 |  | NOS | NOS | NOS | 1 | 1 | Electrical Items Store
211 | SICK PHOTO ELECTRIC SENSOR | GTB6-P4212 (PART NO. 1052442) | SICK PHOTO ELECTRIC SENSOR | Raw Material | 10 | 1700 | 17000 |  | NOS | NOS | NOS | 1 | 1 | Electrical Items Store
212 | SICK PHOTO ELECTRIC SENSOR CABLE | YF8U14-050VA3XLEAX (PART NO-2095889 | SICK PHOTO ELECTRIC SENSOR CABLE | Raw Material | 10 | 800 | 8000 |  | NOS | NOS | NOS | 1 | 1 | Electrical Items Store
213 | GV2ME05 | GV2ME05 | Consumables | 2 |  | SCHNEIDER ELECTRIC SWITCH GEAR |  | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2 | 43
214
215 | MPCB 0.25 TO 0.63 AMPS | GV2ME06 | MPCB 0.25 TO 0.63 AMPS | Consumables | 1 | 2325 | 2325 | SCHNEIDER ELECTRIC SWITCH GEAR | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELE-R1-A2
216
217 | POLYCAB BLACK WIRE 6 SQMM | CAB2300-034 | POLYCAB BLACK WIRE 6 SQMM | Consumables | 80 | 0 | 0 | WIRES&CABLES | MTR | MTR | MTR | 1 | 1 | Electrical Items Store | ELE-R3-A5
218
219 | OMRON VFD 1 SINGLE PHASE INPUT 3PHASE OUTPU 0.5 HP | 3G3MX2-AB004-V2 | OMRON VFD 1 SINGLE PHASE INPUT 3PHASE OUTPU 0.5 HP | Consumables | 4 | 0 | 0 | OMRON
220 | MITSUBISHI VFD 0.5HP 1 PHASE | FR-CS82S-025-60 | MITSUBISHI VFD 0.5HP 1 PHASE | Consumables | 5 | 6700 | 33500 | MITSUBHISHI | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
222 | MITSUBISHI VFD 1 HP 3 PHASE | FR-CS82S-042-60 | MITSUBISHI VFD 1 HP 1 PHASE INPUT 3 PHASE OUTPUT | Consumables | 0 | 0 | 0 | MITSUBHISHI | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
223 | MITSUBISHI SERVO DRIVE 1 PHASE | MR-JE-70A | MITSUBISHI SERVO DRIVE 1 PHASE | Consumables | 2 | 0 |  | MITSUBHISHI | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
224 | MITSUBISHI PLC 230V AC | FX5U-32MT/ESS | MITSUBISHI PLC 230V AC | Consumables | 2 | 2737 | 5474 | MITSUBHISHI | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
225 | MITSUBISHI HMI 24V DC | GS2110-WTBD-N | MITSUBISHI HMI 24V DC | Consumables | 0 | 3340 | 0 | MITSUBHISHI | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
226 | MITSUBISHI VFD 3 PHASE 1 HP | FR-D740-022-E16 | MITSUBISHI VFD 3 PHASE 1 HP | Raw Material | 0 | 11500 | 0 | MITSUBHISHI | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
227 | MITSUBISHI SERVO DRIVE | MR-JET-100G | MITSUBISHI SERVO DRIVE | Raw Material | 0 | 0 |  | MITSUBHISHI | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
228 | MITSUBISHI VFD 3 PHASE INPUT AND THREE PHASE OUTPUT | FR-D740-036-E16 | MITSUBISHI VFD 3 PHASE INPUT AND THREE PHASE OUTPUT | Raw Material | 3 | 0 |  | MITSUBHISHI | NOS | NOS | NOS | 1 | 1 | Electrical Items Store
229 | 8 INPUT EXTENSION CARD MITSUBISHI | FX5-8EX/ES | 8 INPUT EXTENSION CARD MITSUBISHI |  | 1 | 0 |  | MITSUBHISHI
230 | 16 OUTPUT EXTENSION CARD MITSUBISHI | FX5-16EYT/ESS | 16 OUTPUT EXTENSION CARD MITSUBISHI |  | 1 | 0 |  | MITSUBHISHI
231 | 16 INPUT EXTENSION CARD MITSUBISHI | FX5-16/ES | 16 INPUT EXTENSION CARD MITSUBISHI |  | 1 | 0 |  | MITSUBHISHI
232 | FX5U series RS485 adapter. Serial communication adapter. | FX5-485ADP | FX5U series RS485 adapter. Serial communication adapter. |  | 1 | 0 |  | MITSUBHISHI
233 | 4 Input & 4 Output mix expansion module | GC-8ET-ESS | 4 Input & 4 Output mix expansion module |  |  | 0 | 0 | MITSUBHISHI
234 | GOC series 16 Input & 16 Transistor Output PLC. DC Powered | GC43MH-32MT-DSS | GOC series 16 Input & 16 Transistor Output PLC. DC Powered |  | 1 | 0 | 0 | MITSUBHISHI
235 | MITSUBISHI 7 INCH HMI | GS2107-WTBD-N | MITSUBISHI 7 INCH HMI |  | 3 | 13728 | 41184 | MITSUBHISHI
236 | DELTA VFD 0.25HP 1 PHASE 50Hz | VFD002EL21W-1 | DELTA VFD 0.25HP 1 PHASE 50Hz | Consumables | 0 | 4751 | 0 | MITSUBHISHI | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
237 |  | FX5-4AD-PT-ADP | MITSUBHISHU ANALOG TO DEGITAL CONVRTRT |  | 0 | 12600 | 0 | MITSUBHISHI
238 | DELTA VFD 0.5HP 1 PHASE 50Hz | VFD004EL21W-1 | DELTA VFD 0.5HP 1 PHASE 50Hz | Consumables | 0 | 5202 | 0 | DELTA ELECTRONICS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
239 | DELTA VFD 2HP 1 PHASE 50Hz | VFD015EL21A | DELTA VFD 2HP 1 PHASE 50Hz | Consumables | 0 | 0 | 0 | DELTA ELECTRONICS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
240 | DELTA VFD 1 HP 1 PHASE 50Hz | VFD007L21A | DELTA VFD 1 HP 1 PHASE 50Hz | Consumables | 0 | 5411 | 0 | DELTA ELECTRONICS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
241 | DELTA SERVO DRIVE 1 HP 1 PHASE 50Hz | ASD-B2-041-B | DELTA SERVO DRIVE 1 HP 1 PHASE 50Hz | Consumables | 0 | 0 | 0 | DELTA ELECTRONICS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
242 | DELTA PLC 5W | DVP-10SX11R | DELTA PLC 5W | Consumables | 1 | 0 | 0 | DELTA ELECTRONICS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
243 | DELTA PLC 6W | DVP28SV11T2 | DELTA PLC 6W | Consumables | 1 | 12974 | 12974 | DELTA ELECTRONICS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
244 | DELTA PLC 1.5W | DVP-12SA211T | DELTA PLC 1.5W | Consumables | 1 | 5343 | 5343 | DELTA ELECTRONICS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
245 | DELTA PLC EXTENSION (ANALOG M) 24V DC | DVP04DA-S | DELTA PLC EXTENSION (ANALOG M) 24V DC | Consumables | 1 | 68184 | 68184 | DELTA ELECTRONICS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
246 | DELTA PLC 24V DC | DVP14SS211T | DELTA PLC 24V DC | Consumables | 1 | 4930 | 4930 | DELTA ELECTRONICS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
247 | DELTA PLC EXTENSION 24V DC | DVP16SP11T | DELTA PLC EXTENSION 24V DC | Consumables | 1 | 3232 | 3232 | DELTA ELECTRONICS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
248 | DELTA PLC | DVP12SA2 | DELTA PLC | Consumables | 1 | 0 | 0 | DELTA ELECTRONICS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
249 | DELTA VFD 0.5 HP 3 PHASE SUPPLY | VFD004EL43A | DELTA VFD 0.5 HP 3 PHASE SUPPLY | Consumables | 0 | 7844 | 0 | DELTA ELECTRONICS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
250 | DELTA VFD 2 HP 3 PHASE SUPPLY | VFD022EL43A | DELTA VFD 2 HP 3 PASE SUPPLY | Consumables | 0 | 12298 | 0 | DELTA ELECTRONICS | NOS | NOS | NOS | 1 | 1 | Electrical Items Store | ELECTRICAL STORE
251 | DELTA TEMPERATURE CONTROLLER | DTC1000V | DELTA TEMPERATURE CONTROLLER | Consumables | 1 | 0 | 0 | DELTA ELECTRONICS
252 | DELTA INPUTCARD | DVP08SM11N | DELTA INPUTCARD | Consumables | 2 | 1671 | 3342 | DELTA ELECTRONICS
253 | DELTA PLC EXTENSION 24V DC | DVP16SP11R | DELTA PLC EXTENSION 24V DC | Consumables | 1 | 3816 | 3816 | DELTA ELECTRONICS
254 | DELTA 4 INCH HMI | D0P-103WQ | DELTA 4 INCH HMI | Consumables | 1 | 0 | 0 | DELTA ELECTRONICS
255 | DELTA 7INCH HMI | DOP-107EV | DELTA 7INCH HMI
256
257
258